## Read me
Fire safety maintenance tracker
Companion spreadsheet to the Fire safety logbook and maintenance tracker. Lion Risk Management Solutions — general template, version 1.0.
DISCLAIMER — READ BEFORE USE
A record of activity only — not a fire risk assessment and not evidence of compliance. Where defects are identified or compliance is uncertain, obtain advice from a suitably competent person.
This spreadsheet covers the maintenance tracker element of the logbook only. It is not the whole logbook, and it is not a fire risk assessment. A complete tracker records what was done; it cannot confirm that the right things were done, that they were done competently, or that the premises satisfies legal or technical requirements. It does not determine what the premises requires; that comes from the fire risk assessment and the design of the systems installed.
© Lion Risk Management Solutions. General template — adapt to your premises. Version 1.0.
Free to use and adapt for your own premises. Not for resale or republication.
lionrms.uk/downloads/fire-safety-logbook-maintenance-tracker
What is in this file
Sheet | What it records | Cells you fill in | Format notes
Assets | One row per fire safety asset, system or item covered by the tracker. | Every column. Asset ref is yours to choose — keep it unique and use the same ref on the other sheets. | Date installed / commissioned is a date (dd/mm/yyyy). System type and Status are drop-down lists.
Servicing | One row per servicing, inspection or repair visit. | Every column. Leave Defect ref blank unless the visit raised a defect. | Date of visit and Next due are dates. Visit type, Outcome and Defects raised are drop-down lists.
Next due | The forward-looking view — what is coming up, and what is overdue. | Every column. Sort or filter on Next due date to see what is coming. | Last visit date and Next due date are dates. Status is a drop-down list.
Open defects | Defects raised from any part of the logbook, and what happened to them. | Every column. Raised from records which logbook section the defect came out of. | Date raised, Target date and Date closed are dates. Status is a drop-down list.
Example row | One made-up servicing entry, kept on its own sheet so it can never be mistaken for real data. | Nothing. Read it, then work in the four sheets above. | Shows the expected format of every column on the Servicing sheet.
Conventions used throughout
• Dates are dd/mm/yyyy. Type them as dates, not as text.
• Status columns are drop-down lists, not free text, so they can be filtered reliably.
• The header row on each sheet is frozen and is set as the print title, so it repeats on every printed page.
• There are no merged cells in any data range, and no meaning is carried by fill colour alone.
• There are no formulas in this workbook. Nothing recalculates; what you type is what is recorded.
• Mark items that do not apply "Not applicable to these premises" rather than leaving them blank. A blank row reads as a gap; a marked one reads as a decision.
Where this fits
The printed logbook holds the whole record — premises and responsibilities, the fire risk assessment, training, drills, people needing assistance, false alarms, the contractor log and the logbook review. This spreadsheet holds only the part that genuinely benefits from sorting and filtering: the assets, the servicing visits, what is next due, and the open defects.

## Example row
EXAMPLE ROW — Servicing sheet
EXAMPLE ONLY. This is made-up data. It is not in the Servicing sheet and must not be copied into it. It is here to show the format expected in each column.
Record ref | Date of visit | Asset ref | System / equipment type | Location / area | Company | Engineer | Visit type | Certificate / report ref | Outcome | Defects raised? Y/N | Defect ref | Next due | Recorded by
SRV-0042 | 14/03/2026 | FA-PANEL-01 | Fire detection and alarm | Ground floor — main reception | Northgate Fire Systems Ltd | A. Whitfield | Routine service | CERT-2026-0311 | Satisfactory with defects | Y | DEF-0007 | 14/06/2026 | J. Okafor
Reading it across: on 14 March 2026 Northgate Fire Systems attended the main reception fire alarm panel for a routine service, issued certificate CERT-2026-0311, found the system satisfactory but raised one defect (logged as DEF-0007 on the Open defects sheet), and the next visit is due 14 June 2026. J. Okafor entered the record.

## Assets
Asset ref | System / equipment type | Description | Location / area | Manufacturer | Model | Date installed / commissioned | Quantity | Status | Notes

## Servicing
Record ref | Date of visit | Asset ref | System / equipment type | Location / area | Company | Engineer | Visit type | Certificate / report ref | Outcome | Defects raised? Y/N | Defect ref | Next due | Recorded by

## Next due
Asset ref | System / equipment type | Location / area | Last visit date | Last visit type | Next due date | Responsible person / owner / contractor | Status | Notes

## Open defects
Defect ref | Date raised | Defect | System / area | Asset ref | Interim measure | Owner | Target date | Status | Date closed | Verified by | Raised from (logbook section)