## Read me
IMPORTANT — READ BEFORE USE
Routine record only — not a fire risk assessment and not evidence of compliance. Where defects are identified or compliance is uncertain, obtain advice from a suitably competent person.
© Lion Risk Management Solutions. General template — adapt to your premises. Version 1.0.
Free to use and adapt for your own premises. Not for resale or republication.
lionrms.uk/downloads/monthly-emergency-lighting-test-record
What each sheet is for, and which cells you fill in
Sheet | What it records | Cells you fill in | Notes
Premises | Premises, responsible person, system type, rated duration, number of luminaires, year covered | All of column B
Monthly check | The monthly functional check, one row per month | Every column except Month | Month is pre-filled
Annual full-duration test | A record of the annual test — not a method | All columns | Record the duration actually achieved, not "pass"
Luminaire schedule | The luminaires and exit signs covered | All columns | Type matters: a non-maintained luminaire is correctly unlit in normal conditions
Defects and actions | Failures carried across from the monthly or annual sheets | All columns
Conventions
Dates: dd/mm/yyyy.
Y/N columns have a drop-down.
The annual full-duration test discharges the batteries, and the system will not provide its rated duration again until they have recharged.
No servicing interval and no recharge period is stated anywhere in this workbook — both come from your equipment and your maintenance arrangements.

## Premises
Premises details
Premises
Address
Responsible person
System type (self-contained / central battery / mixed)
Rated duration (from the system design) — hours
Number of luminaires and exit signs covered
Year covered

## Monthly check
Month | Date | No. of luminaires checked | All illuminated? Y/N | Charging indicators normal after check? Y/N | Failures (reference / location) | Reported to | Date reported | Checked by
January
February
March
April
May
June
July
August
September
October
November
December

## Annual full-duration test
Year | Date of test | Rated duration required (hours) | Duration actually achieved | Carried out by | Failures identified | Date recharge confirmed complete | Recorded by

## Luminaire schedule
Ref | Location | Type (maintained / non-maintained) | Function (escape route / open area / high risk task / exit sign) | Installed date | Notes

## Defects and actions
Date raised | Ref / location | Defect | Interim measure | Reported to | Date resolved | Resolved by | Verified by

## Example row
EXAMPLE ONLY — this sheet shows the expected format. Do not copy it into the record sheets; it is not a real entry.
Column | Example value
Month | January
Date | 12/01/2026
No. of luminaires checked | 46
All illuminated? Y/N | Y
Charging indicators normal after check? Y/N | Y
Failures (reference / location) | EL-12 stairwell landing — did not illuminate
Reported to | FM helpdesk / BrightCo Ltd
Date reported | 12/01/2026
Checked by | R. Okafor
Read across: 46 luminaires were function-checked on 12 January; all but one illuminated and the charging indicators returned to normal; the single failure was recorded with its reference and reported the same day.